## Slide 1: Σύστημα Φασματοσκοπίας Εμπέδησης για Βιολογικές Εφαρμογές Brief intro November 2019

## Slide 2: System description
Provide samples with a constant (alternating) current excitation (A)
Measure the occurring voltage (V)
The functions are controlled from a PC running a host application
The user will be able to define the current waveform and different other settings (?)

## Slide 3: Block Diagram
SINE: 0…0.6V
TRIANG: 0…0.6V
SQUARE: 0…4V
Host PC
Power Supply
Microcontroller
Function Generator
Constant Current Source
Sample under test
ADC
5 VDC
USB/UART
± 2.5 VDC
Interface
Electronics
± 0.3V AC
SPI
Target AC Current
Interface
Electronics
AC Voltage
DC Voltage

## Slide 4: Block Diagram …so far
SINE: 0…0.6V
TRIANG: 0…0.6V
SQUARE: 0…4V
Host PC
Power Supply
Microcontroller
Function Generator
Constant Current Source
Sample under test
ADC
5 VDC
USB/UART
± 2.5 VDC
Interface
Electronics
± 0.3V AC
SPI
Target AC Current
Interface
Electronics
AC Voltage
DC Voltage

## Slide 5: Rough to-do
Power Supply
ADC
Interface
Electronics
Symmetrical supply from VUSB (± 2.5 from +5 V DC)
Tests for interference with measurements etc.
Unified voltage amplitude from waveform generator
Drive constant current source from waveform generator
AC voltage generated on sample to ADC
Is 10bit enough?
VREF on the fly tests and so on…